## Various LA Recoveries
Valerian Root Web Calibration |  |  |  | Valerian Root Digest as Calibration |  |  |  | Beech Wood Web Calibration |  |  |  | Beech Wood Digest Calibration
Analyte | Average | Reference Values | Recoveries | Analyte | Avg | Reference Values | Recoveries | Analyte | Avg | Reference Values | Recoveries | Analyte | AVG | Reference Values | Recoveries
Li7_ppm_mean | 0.41789 | 0.407 | 1.0268 | Li7_ppm_mean | 2.1953 | 2.18 | 1.007 | Li7_ppm_mean | 0.026412 | 0.0261 | 1.012 | Li7_ppm_mean | 0.10096 | 0.1 | 1.0096
Na23_ppm_mean | 476.3033 | 472 | 1.0091 | Na23_ppm_mean | 454.0538 | 438.48 | 1.0355 | Na23_ppm_mean | 0.011568 | 0.01092 | 1.0594 | Na23_ppm_mean | 10.8758 | 9.89 | 1.0997
Mg25_ppm_mean | 1815.6586 | 1840 | 0.98677 | Mg25_ppm_mean | 1765.6944 | 1762.17 | 1.002 | Mg25_ppm_mean | 315.9141 | 313 | 1.0093 | Mg25_ppm_mean | 79.9989 | 79.14 | 1.0109
Mg26_ppm_mean | 1811.7751 | 1840 | 0.98466 | Mg26_ppm_mean | 1757.8711 | 1762.17 | 0.99756 | Mg26_ppm_mean | 317.3049 | 313 | 1.0138 | Mg26_ppm_mean | 80.1429 | 79.14 | 1.0127
Al27_ppm_mean | 749.3623 | 652 | 1.1493 | Al27_ppm_mean | 735.9708 | 662.63 | 1.1107 | Al27_ppm_mean | 5.0418 | 4.6 | 1.096 | Al27_ppm_mean | 3.0765 | 3.07 | 1.0021
Ca44_ppm_mean | 2348.2832 | 2230 | 1.053 | Ca44_ppm_mean | 2207.3525 | 2170.85 | 1.0168 | Ca44_ppm_mean | 1260.3516 | 1250 | 1.0083 | Ca44_ppm_mean | 1809.6369 | 1797.96 | 1.0065
Cr53_ppm_mean | 2.7973 | 2.52 | 1.11 | Cr53_ppm_mean | 2.6955 | 2.41 | 1.1185 | Cr53_ppm_mean | 0.10655 | 0.105 | 1.0148 | Cr53_ppm_mean | 0.17136 | 0.17 | 1.008
Mn55_ppm_mean | 75.7515 | 69.2 | 1.0947 | Mn55_ppm_mean | 78.4443 | 70.52 | 1.1124 | Mn55_ppm_mean | 77.9779 | 75.2 | 1.0369 | Mn55_ppm_mean | 72.1135 | 70.52 | 1.0226
Fe57_ppm_mean | 3467.2739 | 2960 | 1.1714 | Fe57_ppm_mean | 3019.5317 | 2729.74 | 1.1062 | Fe57_ppm_mean | 7.449 | 7.2 | 1.0346 | Fe57_ppm_mean | 7.9332 | 7.59 | 1.0452
Ni60_ppm_mean | 1.906 | 1.68 | 1.1345 | Ni60_ppm_mean | 3.9639 | 3.42 | 1.159 | Ni60_ppm_mean | 1.12 | 0.568 | 1.9718 | Ni60_ppm_mean | 1.5138 | 0.76 | 1.9918
Cu63_ppm_mean | 10.3567 | 10.2 | 1.0154 | Cu63_ppm_mean | 10.8923 | 10.81 | 1.0076 | Cu63_ppm_mean | 1.1095 | 1.09 | 1.0179 | Cu63_ppm_mean | 1.3903 | 1.37 | 1.0148
Zn68_ppm_mean | 61.0205 | 57.8 | 1.0557 | Zn68_ppm_mean | 73.6691 | 67.18 | 1.0966 | Zn68_ppm_mean | 3.7858 | 3.37 | 1.1234 | Zn68_ppm_mean | 4.0503 | 3.6 | 1.1251
Se82_ppm_mean | NULL | 0.0699 | NULL | Se82_ppm_mean | NULL | 0.42 | NULL | Se82_ppm_mean | 0.0098843 | 0.0136 | 0.72679 | Se82_ppm_mean | 0.5657 | 0.23 | 2.4596
Sr88_ppm_mean | 15.7051 | 14.3 | 1.0983 | Sr88_ppm_mean | 14.6857 | 14.22 | 1.0328 | Sr88_ppm_mean | 7.0919 | 6.91 | 1.0263 | Sr88_ppm_mean | 8.1135 | 7.81 | 1.0389
Ba137_ppm_mean | 18.3069 | 17.4 | 1.0521 | Ba137_ppm_mean | 18.132 | 16.79 | 1.0799 | Ba137_ppm_mean | 35.7652 | 35 | 1.0219 | Ba137_ppm_mean | 37.4123 | 36.61 | 1.0219
Ba138_ppm_mean | 18.2119 | 17.4 | 1.0467 | Ba138_ppm_mean | 17.9972 | 16.79 | 1.0719 | Ba138_ppm_mean | 35.7398 | 35 | 1.0211 | Ba138_ppm_mean | 37.4406 | 36.61 | 1.0227
Pb208_ppm_mean | 3.1698 | 2.71 | 1.1697 | Pb208_ppm_mean | 3.0749 | 2.73 | 1.1264 | Pb208_ppm_mean | 0.063918 | 0.0589 | 1.0852 | Pb208_ppm_mean | 0.064942 | 0.06 | 1.0824
|  | AVG | 1.0724 |  |  | AVG | 1.0675 |  |  | AVG | 1.0753 |  |  | AVG | 1.175
|  | STDEV | 0.062031 |  |  | STDEV | 0.05295 |  |  | STDEV | 0.24535 |  |  | STDEV | 0.40557

## Standard LA Data
| Li-7 | Na-23 | Mg-25 | Mg-26 | Al-27 | Ca-44 | Cr-53 | Mn-55 | Fe-57 | Ni-60 | Cu-63 | Zn-68 | Se-82 | Sr-88 | Ba-137 | Ba-138 | Pb-208
Val 1 | 0.049448 | 1.2464 | 1573.0292 | 1556.5503 | 2400.3777 | 2911.9122 | 0.94844 | 86.6022 | 2040.762 | 1.2517 | 14.5899 | 56.9309 | -0.0079037 | 21.8231 | 15.278 | 15.6461 | 3.9826
Val 2 | 0.071182 | 1.3476 | 1582.4708 | 1575.9127 | 2982.3742 | 3721.0568 | 1.1889 | 84.9071 | 1941.7944 | 1.6881 | 14.0834 | 65.7883 | -0.020094 | 26.8882 | 15.8295 | 16.0088 | 5.7416
Val 3 | 0.049553 | 1.3579 | 1415.7143 | 1428.0784 | 1681.9346 | 3155.5854 | 0.70242 | 79.2183 | 1447.0004 | 1.0987 | 11.4624 | 57.5604 | -5.8961e-06 | 21.5555 | 12.1891 | 12.6479 | 3.123
Val 4 | 0.037938 | 1.0386 | 2619.7232 | 2627.899 | 1567.0684 | 2817.4956 | 0.63084 | 84.9169 | 1472.0546 | 1.128 | 9.6087 | 94.3206 | -0.092837 | 22.4208 | 18.9418 | 18.8722 | 1.828
Val 5 | 0.039957 | 1.1945 | 2507.1905 | 2514.6226 | 2357.018 | 3376.3078 | 0.7989 | 74.3054 | 1519.732 | 2.2154 | 10.1678 | 112.9173 | -0.075491 | 20.5953 | 17.5853 | 17.5134 | 2.7139
Val 6 | 0.04123 | 1.2075 | 2024.2933 | 2089.7555 | 1419.4718 | 2503.4082 | 0.98878 | 57.0233 | 1522.7556 | 1.2844 | 9.7025 | 75.8341 | -0.015344 | 14.5218 | 12.3281 | 12.181 | 1.8358
Val 7 | 0.042066 | 0.66355 | 2584.6288 | 2538.1541 | 1112.5949 | 1986.1674 | 0.62739 | 52.6102 | 994.3799 | 1.4098 | 10.3255 | 88.9764 | -0.020441 | 16.6529 | 13.0001 | 12.7834 | 1.4939
Val 8 | 0.048405 | 0.74076 | 2898.2234 | 2904.124 | 2129.9213 | 2680.0041 | 0.91103 | 89.7828 | 2133.7068 | 1.9847 | 9.8065 | 103.246 | -0.011767 | 20.047 | 17.8296 | 18.1098 | 2.9143
Val 9 | 0.043589 | 0.67795 | 2757.1579 | 2733.2562 | 3297.1599 | 3308.3806 | 1.0752 | 100.0555 | 3594.0246 | 2.3526 | 11.0815 | 94.5339 | -0.0385 | 20.2298 | 18.4578 | 18.4884 | 5.1594
AVG | 0.047041 | 1.0528 | 2218.3769 |  | 2105.3245 | 2940.0354 | 0.87465 | 78.8246 | 1851.8012 | 1.6015 | 11.2031 | 83.3453 | -0.031376 | 20.5261 | 15.7155 | 15.8057 | 3.1992
Reference Values | 0.407 | 472 | 1840 | 1840 | 652 | 2230 | 2.52 | 69.2 | 2960 | 1.68 | 10.2 | 57.8 | 0.0699 | 14.3 | 17.4 | 17.4 | 2.71
Recoveries | 0.11558 | 0.0022304 | 1.2056 |  | 3.229 | 1.3184 | 0.34708 | 1.1391 | 0.62561 | 0.95327 | 1.0983 | 1.442 | -0.44887 | 1.4354 | 0.90319 | 0.90837 | 1.1805
Beech 1 | 0.031141 | 0.013242 | 364.8397 | 366.0328 | 5.5397 | 1372.8139 | 0.098216 | 93.7748 | 7.3499 | 4.4346 | 1.0116 | 6.2244 | 0.017075 | 7.494 | 45.1671 | 45.348 | 0.057929
Beech 2 | 0.037287 | 0.016285 | 288.7058 | 287.6544 | 8.4159 | 1167.3429 | 0.11676 | 93.6829 | 7.4345 | 2.7668 | 1.1254 | 4.8475 | 0.011613 | 6.6681 | 38.636 | 38.3971 | 0.080475
Beech 3 | 0.013937 | 0.0085117 | 301.6815 | 302.4373 | 4.0069 | 1204.2697 | 0.10344 | 57.1036 | 7.004 | 0.49112 | 1.1785 | 2.5142 | 0.010838 | 6.322 | 27.1125 | 27.0106 | 0.057021
Beech 4 | 0.026566 | 0.011182 | 373.0057 | 378.7482 | 4.2426 | 1319.5184 | 0.096947 | 78.9867 | 8.029 | 0.60114 | 1.2152 | 3.4467 | 0.04763 | 6.9083 | 34.8658 | 35.7393 | 0.057711
Beech 5 | 0.030155 | 0.01189 | 270.639 | 269.635 | 4.9506 | 1178.4958 | 0.11531 | 71.3707 | 4.9458 | 0.52588 | 1.2111 | 2.832 | -0.10958 | 6.8494 | 33.2634 | 32.4871 | 0.056104
Beech 6 | 0.022625 | 0.0099938 | 312.0565 | 314.6912 | 5.0094 | 1236.6791 | 0.10323 | 80.041 | 9.2051 | 0.5632 | 0.96151 | 4.1786 | 0.067954 | 7.1682 | 37.7046 | 37.3953 | 0.06259
Beech 7 | 0.02305 | 0.012057 | 292.2627 | 296.9831 | 5.9419 | 1387.7226 | 0.13397 | 71.4764 | 9.1146 | 0.4338 | 1.1212 | 2.99 | 0.039522 | 8.9366 | 35.0851 | 34.9248 | 0.057619
Beech 8 | 0.030043 | 0.013642 | 319.7044 | 320.421 | 4.9524 | 1247.3211 | 0.10536 | 86.8727 | 7.8188 | 0.8735 | 1.1732 | 4.1765 | -0.023949 | 6.2574 | 35.0668 | 35.2808 | 0.094771
Beech 9 | 0.023097 | 0.0086931 | 317.3428 | 312.723 | 3.0551 | 1191.5879 | 0.099784 | 60.4635 | 7.9596 | 0.48839 | 1.0684 | 2.9804 | 0.032163 | 5.8142 | 35.645 | 35.6172 | 0.069462
Beech 7 | 0.023805 | 0.010116 | 329.6108 | 337.3983 | 4.7444 | 1355.8348 | 0.08973 | 90.1481 | 6.3667 | 0.56254 | 1.0198 | 4.2274 | -0.034004 | 8.5311 | 37.6824 | 37.6876 | 0.047483
Beech 8 | 0.028829 | 0.011638 | 305.206 | 303.6296 | 4.6008 | 1202.281 | 0.10931 | 73.8367 | 6.7113 | 0.57862 | 1.1191 | 3.2268 | 0.049463 | 7.0618 | 33.1887 | 33.2496 | 0.061934
AVG | 0.026412 | 0.011568 | 315.9141 | 317.3049 | 5.0418 | 1260.3516 | 0.10655 | 77.9779 | 7.449 | 1.12 | 1.1095 | 3.7858 | 0.0098843 | 7.0919 | 35.7652 | 35.7398 | 0.063918
Reference | 0.0261 | 0.01092 | 313 | 313 | 4.6 | 1250 | 0.105 | 75.2 | 7.2 | 0.568 | 1.09 | 3.37 | 0.0136 | 6.91 | 35 | 35 | 0.0589
Recoveries | 1.012 | 1.0594 | 1.0093 | 1.0138 | 1.096 | 1.0083 | 1.0148 | 1.0369 | 1.0346 | 1.9718 | 1.0179 | 1.1234 | 0.72679 | 1.0263 | 1.0219 | 1.0211 | 1.0852

## Unkown Data Plotted
Core Section | Li-7 | Na-23 | Mg-26 | Al-27 | Ca-44 | Cr-53 | Mn-55 | Fe-57 | Ni-60 | Cu-63 | Zn-68 | Se-82 | Sr-88 | Ba-138 | Pb-208
A-A' | 0.040783 | 1.1563 | 231.1431 | 0.45185 | 1162.8102 | 0.17986 | 2.0166 | 64.33 | 0.38795 | 0.96822 | 1.3277 | 0.026341 | 9.817 | 2.4577 | 0.10358
B-B' | 0.043178 | 0.96867 | 214.6792 | 0.29553 | 1151.4976 | 0.11788 | 1.1791 | 39.9218 | 0.37337 | 1.1015 | 1.2544 | 0.10262 | 8.773 | 2.3132 | 0.081117
C1-C1' | 0.052271 | 1.0233 | 233.8482 | 0.36974 | 1332.7926 | 0.11497 | 1.3635 | 39.8246 | 0.36201 | 0.64353 | 1.3104 | 0.27648 | 8.9398 | 2.6385 | 0.089947 | Core Section | Time Period
C2-C2' | 0.047871 | 0.93684 | 242.2368 | 0.51066 | 1434.3946 | 0.10638 | 1.5138 | 42.1153 | 0.24521 | 0.61384 | 1.0393 | 0.22291 | 8.9733 | 2.7257 | 0.098922 | A-A' | 1972-76
D-D' | 0.061723 | 0.86473 | 228.9103 | 0.33283 | 1550.6795 | 0.10025 | 1.4673 | 30.3129 | 0.18438 | 0.47509 | 0.7403 | 0.054478 | 8.8269 | 2.8377 | 0.071657 | B-B' | 1977-81
E-E' | 0.053575 | 0.61289 | 250.1619 | 0.20821 | 1824.4984 | 0.099234 | 1.5637 | 23.4693 | 0.099927 | 0.43958 | BelowLOD | -0.037784 | 9.8781 | 3.269 | 0.065789 | C1-C1' & C2-C2' | 1982-86
F-F' | 0.035519 | 0.35885 | 185.2502 | 0.46446 | 1534.4098 | 0.08552 | 1.3737 | 16.9734 | 0.19604 | 0.93612 | 3.5383 | -0.033537 | 9.0403 | 2.8125 | 0.080577 | D-D' | 1987-91
G1-G1' | 0.045074 | 0.27972 | 150.2559 | 0.514 | 1584.0415 | 0.087111 | 2.1048 | 18.5078 | 0.28288 | 0.86249 | 4.5585 | 0.0060401 | 9.6984 | 2.7737 | 0.074811 | E-E' | 1992-96
G2-G2' | 0.03786 | 0.28831 | 140.9531 | 1.8659 | 1657.7309 | 0.10984 | 2.3005 | 22.4618 | 0.29542 | 1.0311 | 5.9546 | -0.0073199 | 9.9253 | 2.7784 | 0.073068 | F-F' | 1997-2001
H-H' | 0.041744 | 0.28228 | 168.9549 | 1.1959 | 1378.5572 | 0.1274 | 2.1087 | 20.5269 | 0.31711 | 1.0755 | 4.567 | -0.01279 | 9.6717 | 2.4313 | 0.048903 | G1-G1' & G2-G2' | 2006-02
I-I' | 0.030786 | 0.18223 | 143.2524 | 1.0526 | 1191.1188 | 0.14211 | 1.7079 | 44.1479 | 0.28391 | 1.2165 | 4.4576 | 0.0083673 | 9.2082 | 2.122 | 0.025928 | H-H' | 2007-11
J-J' | 0.04912 | 0.067031 | 77.1156 | 0.26024 | 935.4625 | 0.17175 | 1.313 | 16.817 | 0.15747 | 1.4084 | 3.8503 | 0.021219 | 8.7946 | 1.8076 | 0.0085075 | I-I' | 2012-16
[16 empty] | J-J' | 2017-21
Time Period | Li-7 | Na-23 | Mg-26 | Al-27 | Ca-44 | Cr-53 | Mn-55 | Fe-57 | Ni-60 | Cu-63 | Zn-68 | Se-82 | Sr-88 | Ba-138 | Pb-208
1972-76 | 0.040783 | 1.1563 | 231.1431 | 0.45185 | 1162.8102 | 0.17986 | 2.0166 | 64.33 | 0.38795 | 0.96822 | 1.3277 | 0.026341 | 9.817 | 2.4577 | 0.10358
1977-81 | 0.043178 | 0.96867 | 214.6792 | 0.29553 | 1151.4976 | 0.11788 | 1.1791 | 39.9218 | 0.37337 | 1.1015 | 1.2544 | 0.10262 | 8.773 | 2.3132 | 0.081117
1982-86 | 0.050071 | 0.98008 | 238.0425 | 0.4402 | 1383.5936 | 0.11068 | 1.4387 | 40.97 | 0.30361 | 0.62868 | 1.1748 | 0.24969 | 8.9566 | 2.6821 | 0.094434
1987-91 | 0.061723 | 0.86473 | 228.9103 | 0.33283 | 1550.6795 | 0.10025 | 1.4673 | 30.3129 | 0.18438 | 0.47509 | 0.7403 | 0.054478 | 8.8269 | 2.8377 | 0.071657
1992-96 | 0.053575 | 0.61289 | 250.1619 | 0.20821 | 1824.4984 | 0.099234 | 1.5637 | 23.4693 | 0.099927 | 0.43958 | BelowLOD | -0.037784 | 9.8781 | 3.269 | 0.065789
1997-2001 | 0.035519 | 0.35885 | 185.2502 | 0.46446 | 1534.4098 | 0.08552 | 1.3737 | 16.9734 | 0.19604 | 0.93612 | 3.5383 | -0.033537 | 9.0403 | 2.8125 | 0.080577
2006-02 | 0.041467 | 0.28401 | 145.6045 | 1.19 | 1620.8862 | 0.098476 | 2.2026 | 20.4848 | 0.28915 | 0.94681 | 5.2566 | -0.00063988 | 9.8119 | 2.7761 | 0.07394
2007-11 | 0.041744 | 0.28228 | 168.9549 | 1.1959 | 1378.5572 | 0.1274 | 2.1087 | 20.5269 | 0.31711 | 1.0755 | 4.567 | -0.01279 | 9.6717 | 2.4313 | 0.048903
2012-16 | 0.030786 | 0.18223 | 143.2524 | 1.0526 | 1191.1188 | 0.14211 | 1.7079 | 44.1479 | 0.28391 | 1.2165 | 4.4576 | 0.0083673 | 9.2082 | 2.122 | 0.025928
2017-21 | 0.04912 | 0.067031 | 77.1156 | 0.26024 | 935.4625 | 0.17175 | 1.313 | 16.817 | 0.15747 | 1.4084 | 3.8503 | 0.021219 | 8.7946 | 1.8076 | 0.0085075