## Metadata
Mass Spectrometer Files
File | File start time | File end time | Time file loaded | No of data points | No of channels | Channels | Samples
/Users/nathan/Desktop/LA-ICP-MS Projects/2023 Geo 392 projects/April & Asher/Run1sp.csv | 2023-11-16 12:02:00.000 | 2023-11-16 13:01:14.717 | 2023-11-16 15:16:55.380 | 5634 | 29 | Mg24,Si29,K39,Sc45,Ti47,Fe57,Rb85,Sr88,Y89,Zr90,Nb93,Ba137,La139,Ce140,Pr141,Nd146,Sm147,Eu153,Gd157,Tb159,Dy163,Ho165,Er166,Tm169,Yb172,Lu175,Hf178,Ta181,U238 | Run1sp.D
Laser Log Files
File | File start time | File end time | Time file loaded | Samples | Offset (s) | Widths
/Users/nathan/Desktop/LA-ICP-MS Projects/2023 Geo 392 projects/April & Asher/LaserLog_23-11-16_12-03-01.csv | 2023-11-16 12:03:01.476 | 2023-11-16 13:01:51.792 | 2023-11-16 15:17:18.785 | 610sp-1,610sp-2,610sp-3,612sp-1,612sp-2,612sp-3,core grid-1,core grid-2,core grid-3,core grid-4,core grid-5,core grid-6,core grid-7,core grid-8,core grid-9,core grid-10,core grid-11,core grid-12,core grid-13,core grid-14,core grid-15,core grid-16,rim grid-1,rim grid-2,rim grid-3,rim grid-4,rim grid-5,rim grid-6,rim grid-7,rim grid-8,rim grid-9,rim grid-10,rim grid-11,rim grid-12,rim grid-13,rim grid-14,rim grid-15,rim grid-16,610sp-4,610sp-5,610sp-6,612sp-4,612sp-5,612sp-6 | -72.9479 | 75

## DRS Settings
Data Reduction Scheme Settings
Trace Elements
Full-Quant | TRUE
Howell | FALSE
IndexChannel | Si29
Longerich | FALSE
MaskChannel | Mg24
MaskCutoff | 1000
MaskMethod | Laser log
MaskResults | FALSE
MaskTrim | 0
Pettke | FALSE
exceptions

## Data
| Mg24_ppm_mean | Mg24_ppm_2SE(int) | Mg24_ppm_LOD_Longerich | K39_ppm_mean | K39_ppm_2SE(int) | K39_ppm_LOD_Longerich | Sc45_ppm_mean | Sc45_ppm_2SE(int) | Sc45_ppm_LOD_Longerich | Ti47_ppm_mean | Ti47_ppm_2SE(int) | Ti47_ppm_LOD_Longerich | Fe57_ppm_mean | Fe57_ppm_2SE(int) | Fe57_ppm_LOD_Longerich | Rb85_ppm_mean | Rb85_ppm_2SE(int) | Rb85_ppm_LOD_Longerich | Sr88_ppm_mean | Sr88_ppm_2SE(int) | Sr88_ppm_LOD_Longerich | Y89_ppm_mean | Y89_ppm_2SE(int) | Y89_ppm_LOD_Longerich | Zr90_ppm_mean | Zr90_ppm_2SE(int) | Zr90_ppm_LOD_Longerich | Nb93_ppm_mean | Nb93_ppm_2SE(int) | Nb93_ppm_LOD_Longerich | Ba137_ppm_mean | Ba137_ppm_2SE(int) | Ba137_ppm_LOD_Longerich | La139_ppm_mean | La139_ppm_2SE(int) | La139_ppm_LOD_Longerich | Ce140_ppm_mean | Ce140_ppm_2SE(int) | Ce140_ppm_LOD_Longerich | Pr141_ppm_mean | Pr141_ppm_2SE(int) | Pr141_ppm_LOD_Longerich | Nd146_ppm_mean | Nd146_ppm_2SE(int) | Nd146_ppm_LOD_Longerich | Sm147_ppm_mean | Sm147_ppm_2SE(int) | Sm147_ppm_LOD_Longerich | Eu153_ppm_mean | Eu153_ppm_2SE(int) | Eu153_ppm_LOD_Longerich | Gd157_ppm_mean | Gd157_ppm_2SE(int) | Gd157_ppm_LOD_Longerich | Tb159_ppm_mean | Tb159_ppm_2SE(int) | Tb159_ppm_LOD_Longerich | Dy163_ppm_mean | Dy163_ppm_2SE(int) | Dy163_ppm_LOD_Longerich | Ho165_ppm_mean | Ho165_ppm_2SE(int) | Ho165_ppm_LOD_Longerich | Er166_ppm_mean | Er166_ppm_2SE(int) | Er166_ppm_LOD_Longerich | Tm169_ppm_mean | Tm169_ppm_2SE(int) | Tm169_ppm_LOD_Longerich | Yb172_ppm_mean | Yb172_ppm_2SE(int) | Yb172_ppm_LOD_Longerich | Lu175_ppm_mean | Lu175_ppm_2SE(int) | Lu175_ppm_LOD_Longerich | Hf178_ppm_mean | Hf178_ppm_2SE(int) | Hf178_ppm_LOD_Longerich | Ta181_ppm_mean | Ta181_ppm_2SE(int) | Ta181_ppm_LOD_Longerich | U238_ppm_mean | U238_ppm_2SE(int) | U238_ppm_LOD_Longerich
G_NIST610
610sp-1 | 433.2431 | 3.4863 | 0.077047 | 462.8072 | 4.3743 | 2.9371 | 454.6132 | 4.5094 | 0.067677 | 450.3055 | 7.0804 | 0.35248 | 459.8191 | 12.7868 | 5.9123 | 422.134 | 3.4215 | 0.093456 | 510.0456 | 5.546 | 0.010185 | 461.5688 | 4.0761 | 0.0051725 | 447.0663 | 4.8054 | 0.023385 | 462.7518 | 5.2863 | 0.004148 | 451.5741 | 5.7476 | 0.11854 | 437.2787 | 4.3403 | 0.0054316 | 449.0255 | 4.2931 | 0.0069944 | 442.8548 | 3.5406 | 0.0054299 | 425.9499 | 4.1853 | 0.053261 | 449.1147 | 4.4688 | 0.053409 | 442.9018 | 4.8367 | 0.0098721 | 447.4835 | 4.314 | 0.025574 | 435.0888 | 4.0679 | 0.0052152 | 434.1887 | 4.774 | 0.039718 | 446.4493 | 4.8633 | 0.0072144 | 451.7916 | 4.7021 | 0.018616 | 431.1124 | 4.4484 | 0.0063543 | 446.6894 | 5.1693 | 0.033043 | 435.0416 | 5.2532 | 0.0087532 | 431.0373 | 5.6869 | 0.025325 | 440.2645 | 6.0019 | 0.0065772 | 453.8997 | 5.0618 | 0.010475
610sp-2 | 432.6678 | 4.0183 | 0.073235 | 464.6864 | 3.8157 | 3.5133 | 456.0221 | 3.885 | 0.046869 | 453.0043 | 6.8074 | 0.32261 | 459.385 | 12.8606 | 6.0017 | 428.2774 | 4.0465 | 0.10393 | 517.1074 | 4.8752 | 0.012293 | 461.4048 | 3.6452 | 0.0034062 | 447.7708 | 4.9287 | 0.012165 | 465.4585 | 4.6276 | 0.010379 | 452.3834 | 5.9656 | 0.074685 | 441.2968 | 3.8 | 0.010389 | 454.789 | 4.0964 | 0.0052355 | 448.3562 | 3.3314 | 0.007022 | 429.8438 | 3.655 | 0.056021 | 454.0257 | 4.2652 | 0.0262 | 446.621 | 3.9225 | 0.015332 | 446.9664 | 4.5356 | 0.05073 | 436.9363 | 3.5201 | 0.0038425 | 437.6404 | 3.772 | 0.026542 | 448.9745 | 3.9654 | 0.0088116 | 455.8054 | 4.2015 | 0.019535 | 436.754 | 3.9748 | 0.0063332 | 450.7209 | 4.1524 | 0.036399 | 438.2828 | 4.073 | 0.0072706 | 433.8843 | 4.3974 | 0.027622 | 445.9575 | 4.7361 | 0.005714 | 461.6978 | 4.937 | 0.01479
610sp-3 | 429.9532 | 3.165 | 0.084877 | 464.4472 | 3.8085 | 3.4307 | 454.2677 | 4.5219 | 0.044632 | 452.6338 | 8.0079 | 0.4209 | 454.8855 | 14.2599 | 72.0535 | 426.794 | 3.787 | 0.092971 | 519.551 | 6.045 | 0 | 463.1107 | 4.5295 | 0.0032955 | 449.2921 | 4.7116 | 0.018776 | 466.8881 | 4.288 | 0.0086871 | 452.0754 | 5.4972 | 0.091355 | 441.6072 | 3.8113 | 0.0052058 | 455.463 | 3.8236 | 0.0066711 | 453.1262 | 3.956 | 0.0052409 | 434.5058 | 4.4658 | 0.035489 | 456.0406 | 5.2927 | 0.052232 | 451.7548 | 4.1766 | 0.013091 | 452.7167 | 4.8697 | 0.033234 | 439.18 | 3.8185 | 0.0073851 | 439.3217 | 4.3795 | 0.028496 | 451.7794 | 4.2718 | 0.0078826 | 457.5971 | 4.5057 | 0.010325 | 437.3723 | 4.3722 | 0.0063268 | 452.829 | 5.1977 | 0.02889 | 444.0075 | 4.8694 | 0.006435 | 440.3703 | 4.7769 | 0.036391 | 452.1604 | 6.165 | 0.0059264 | 469.4781 | 4.8589 | 0.011572
610sp-4 | 433.3238 | 3.4312 | 0.081753 | 466.2344 | 3.7006 | 4.0765 | 457.0683 | 3.99 | 0.056037 | 452.9305 | 8.2009 | 0.31681 | 449.8577 | 10.7381 | 5.6595 | 425.2866 | 3.7282 | 0.11115 | 516.6104 | 6.0814 | 0.010392 | 461.1957 | 4.2602 | 0.0048073 | 446.8782 | 4.8157 | 0.017464 | 465.7411 | 5.1883 | 0.0069381 | 454.0887 | 7.0758 | 0.12918 | 439.4952 | 4.5891 | 0.0092436 | 451.2596 | 4.8079 | 0.0069279 | 446.8247 | 4.1864 | 0.0061328 | 428.226 | 3.757 | 0.075498 | 453.0772 | 4.9018 | 0.052803 | 445.7417 | 4.6654 | 0.017425 | 448.9253 | 4.5839 | 0.043634 | 435.1506 | 4.5327 | 0.005658 | 436.4482 | 4.9475 | 0.028751 | 447.6603 | 5.0464 | 0.0073039 | 454.978 | 4.5813 | 0.022153 | 433.2384 | 4.5039 | 0.008275 | 447.8044 | 4.7267 | 0.033806 | 436.9928 | 4.8694 | 0.0068821 | 433.4568 | 5.0352 | 0.027791 | 444.1064 | 5.5826 | 0.012384 | 457.8806 | 5.2061 | 0.010392
610sp-5 | 431.6743 | 3.702 | 0.085374 | 463.4457 | 3.7228 | 3.5293 | 454.4815 | 4.2907 | 0.045845 | 454.7234 | 7.7822 | 0.28914 | 466.2514 | 10.55 | 6.8081 | 426.7786 | 3.3351 | 0.10981 | 514.3719 | 5.6135 | 0.018122 | 461.79 | 4.3453 | 0.0045852 | 447.3097 | 5.0464 | 0.011902 | 463.6825 | 4.9461 | 0.006634 | 447.035 | 6.2671 | 0.071609 | 437.9788 | 5.0989 | 0.010909 | 451.672 | 4.4796 | 0.0058385 | 446.7119 | 4.1433 | 0.0062575 | 429.8611 | 4.4011 | 0.040869 | 452.3866 | 4.8667 | 0.034418 | 447.026 | 4.3645 | 0.014062 | 447.5723 | 4.814 | 0.04335 | 436.4969 | 3.8212 | 0.0047113 | 437.0936 | 4.1676 | 0.028649 | 448.7655 | 4.9549 | 0.0063393 | 452.9654 | 5.8471 | 0.02571 | 435.1051 | 4.5821 | 0.0094378 | 450.8365 | 5.255 | 0.037445 | 438.4956 | 4.6436 | 0.0075392 | 435.5216 | 4.8915 | 0.027404 | 446.1183 | 5.9638 | 0.0094445 | 460.8829 | 5.4307 | 0.012148
610sp-6 | 431.1392 | 3.8141 | 0.085225 | 462.3795 | 3.9778 | 3.6458 | 453.5524 | 3.7859 | 0.055741 | 448.4083 | 7.6663 | 0.33008 | 457.8092 | 13.6132 | 5.1681 | 424.9289 | 3.0214 | 0.084101 | 515.3201 | 4.6862 | 0.0057584 | 462.933 | 3.6131 | 0.0060241 | 449.6866 | 4.3539 | 0.0096811 | 465.4846 | 5.1313 | 0.005059 | 454.8496 | 5.3061 | 0.041689 | 442.3496 | 4.0102 | 0.00693 | 455.7978 | 4.5452 | 0.0051211 | 450.1294 | 3.7386 | 0.0046172 | 431.6177 | 3.7745 | 0.039138 | 453.3633 | 4.9608 | 0.042379 | 447.9609 | 4.298 | 0.0084654 | 450.34 | 3.9801 | 0.047135 | 439.1508 | 3.5603 | 0.0047527 | 437.3122 | 4.2267 | 0.022717 | 450.375 | 4.1032 | 0.009406 | 456.867 | 4.4553 | 0.028279 | 436.4227 | 4.2961 | 0.0048913 | 451.1246 | 4.2387 | 0.035325 | 441.1857 | 3.8983 | 0.0075058 | 435.7355 | 4.9666 | 0.03512 | 447.4011 | 5.4661 | 0.0081978 | 465.162 | 5.0205 | 0.018
Reference Values | 432 | 29 |  | 464 | 21 |  | 455 | 10 |  | 452 | 10 |  | 458 | 9 |  | 425.7 | 1 |  | 515.5 | 1 |  | 462 | 11 |  | 448 | 9 |  | 465 | 34 |  | 452 | 9 |  | 440 | 10 |  | 453 | 8 |  | 448 | 7 |  | 430 | 8 |  | 453 | 11 |  | 447 | 12 |  | 449 | 12 |  | 437 | 9 |  | 437 | 11 |  | 449 | 12 |  | 455 | 14 |  | 435 | 10 |  | 450 | 9 |  | 439 | 8 |  | 435 | 12 |  | 446 | 33 |  | 461.5 | 1
G_NIST612
612sp-1 | 56.5941 | 0.83467 | 0.09755 | 58.2069 | 3.5874 | 3.7997 | 40.8808 | 0.5119 | 0.090165 | 40.9969 | 2.0385 | 0.52032 | 92.7324 | 6.2676 | 7.7695 | 31.3497 | 0.55839 | 0.12071 | 79.7791 | 1.2363 | 0 | 39.0232 | 0.43928 | 0.0064054 | 38.5383 | 0.64672 | 0.039301 | 38.4873 | 0.47073 | 0.0087923 | 39.6014 | 1.411 | 0.11713 | 36.4375 | 0.46917 | 0.006226 | 38.7861 | 0.47375 | 0.0079915 | 38.2549 | 0.40429 | 0.0046478 | 35.7739 | 0.77649 | 0.063605 | 38.3065 | 0.72478 | 0.061449 | 35.9571 | 0.47881 | 0.014873 | 38.6802 | 0.73137 | 0.054926 | 37.8016 | 0.41733 | 0.01164 | 36.6249 | 0.64922 | 0.03434 | 38.7971 | 0.38014 | 0.0099772 | 39.5322 | 0.56225 | 0.020069 | 37.7482 | 0.49455 | 0.010254 | 39.6242 | 0.64854 | 0.034628 | 37.2119 | 0.46189 | 0.0069056 | 38.2288 | 0.69507 | 0.049862 | 38.1968 | 0.56092 | 0.0085503 | 38.195 | 0.55693 | 0.022857
612sp-2 | 57.0154 | 0.77687 | 0.092669 | 54.6667 | 2.6778 | 3.1143 | 40.7852 | 0.60669 | 0.058399 | 40.8713 | 2.017 | 0.40049 | 90.3761 | 7.5255 | 6.3869 | 32.0294 | 0.57623 | 0.076186 | 79.7625 | 0.98383 | 0.013139 | 39.674 | 0.39363 | 0.0044003 | 39.7387 | 0.71285 | 0.011352 | 39.3173 | 0.51385 | 0.0082195 | 41.1658 | 1.3865 | 0.11049 | 37.2852 | 0.41089 | 0.0047237 | 39.3143 | 0.43693 | 0.0073541 | 38.8924 | 0.40761 | 0.0048744 | 36.5141 | 0.54152 | 0.033261 | 39.4472 | 0.68512 | 0.057346 | 36.5214 | 0.43234 | 0.0099083 | 39.8194 | 0.74985 | 0.050252 | 38.46 | 0.36431 | 0.0069224 | 36.9145 | 0.67595 | 0.031608 | 39.6434 | 0.48198 | 0.0064011 | 39.8434 | 0.61549 | 0.025374 | 38.3289 | 0.41547 | 0.0067645 | 40.1376 | 0.70541 | 0.040278 | 38.2303 | 0.42785 | 0.00524 | 38.3849 | 0.63581 | 0.029962 | 38.6383 | 0.56502 | 0.0062085 | 39.1292 | 0.5484 | 0.014843
612sp-3 | 56.4635 | 0.73215 | 0.069646 | 54.7173 | 1.9415 | 2.7557 | 41.2376 | 0.65838 | 0.048416 | 42.1791 | 1.7986 | 0.22739 | 91.5448 | 7.3989 | 5.1172 | 32.1928 | 0.51942 | 0.061576 | 80.3334 | 0.9004 | 0.0087267 | 38.8184 | 0.48507 | 0.0044916 | 38.9217 | 0.69333 | 0.013371 | 39.1122 | 0.39816 | 0.0077251 | 40.633 | 1.2301 | 0.10541 | 36.9978 | 0.39534 | 0.0044951 | 39.2347 | 0.46026 | 0.0040532 | 39.1841 | 0.45215 | 0.0049868 | 37.099 | 0.77861 | 0.038395 | 39.2362 | 0.82398 | 0.040084 | 37.0056 | 0.45614 | 0.011029 | 39.4434 | 0.78755 | 0.03695 | 38.019 | 0.45371 | 0.0044177 | 37.2193 | 0.51465 | 0.021756 | 39.17 | 0.46052 | 0.006871 | 39.8246 | 0.68325 | 0.016713 | 38.6647 | 0.43285 | 0.0075866 | 40.5235 | 0.68627 | 0.02805 | 38.2747 | 0.46878 | 0.0065028 | 38.7341 | 0.66864 | 0.018427 | 38.5419 | 0.52699 | 0.0072443 | 39.26 | 0.46624 | 0.0089067
612sp-4 | 57.5483 | 0.7772 | 0.10153 | 51.7182 | 2.2238 | 3.2174 | 40.7504 | 0.60441 | 0.055899 | 42.223 | 1.8594 | 0.33034 | 90.3587 | 5.8859 | 5.2382 | 31.9134 | 0.55486 | 0.091368 | 81.1879 | 1.0552 | 0.012132 | 39.0032 | 0.42172 | 0.0065387 | 38.5502 | 0.66693 | 0 | 39.111 | 0.54588 | 0.0083132 | 40.7955 | 1.3318 | 0.087801 | 36.679 | 0.4576 | 0.0074902 | 39.1354 | 0.49217 | 0.0062159 | 38.9582 | 0.46463 | 0.0059057 | 36.4194 | 0.66207 | 0.045725 | 38.7754 | 0.74807 | 0.047714 | 36.0153 | 0.49137 | 0.0081663 | 38.7154 | 0.92594 | 0.038435 | 37.8942 | 0.47842 | 0.0043367 | 37.1779 | 0.62353 | 0.024052 | 39.181 | 0.4661 | 0.0061115 | 39.2122 | 0.69428 | 0.019523 | 37.8473 | 0.45666 | 0.0059844 | 39.1607 | 0.72903 | 0.041482 | 37.6483 | 0.50485 | 0.007653 | 38.0333 | 0.65566 | 0.027525 | 38.1434 | 0.51573 | 0.0078825 | 38.9073 | 0.6349 | 0.018239
612sp-5 | 56.9659 | 0.9411 | 0.075626 | 54.0942 | 2.2087 | 3.7934 | 39.9628 | 0.64985 | 0.046889 | 40.019 | 1.7903 | 0.27476 | 95.8335 | 6.0434 | 5.5612 | 31.8486 | 0.59416 | 0.093154 | 79.6261 | 1.028 | 0.0085396 | 38.7449 | 0.39008 | 0.0047649 | 38.3565 | 0.67658 | 0 | 38.7493 | 0.5555 | 0.008927 | 40.1531 | 1.4272 | 0.085492 | 36.288 | 0.42626 | 0.009045 | 38.5962 | 0.48066 | 0.0098627 | 37.97 | 0.43305 | 0.0056646 | 35.7564 | 0.61438 | 0.039641 | 38.4139 | 0.65367 | 0.044043 | 35.914 | 0.47188 | 0.014 | 38.4676 | 0.78805 | 0.034793 | 37.3342 | 0.41003 | 0.0054573 | 36.7301 | 0.63285 | 0.026699 | 38.4652 | 0.40746 | 0.0067848 | 39.0805 | 0.67054 | 0.014963 | 37.6183 | 0.46544 | 0.0078763 | 38.7983 | 0.65237 | 0.033813 | 37.041 | 0.51083 | 0.0084745 | 37.6127 | 0.68175 | 0.028587 | 37.5161 | 0.54997 | 0.0067169 | 38.3258 | 0.6119 | 0.008756
612sp-6 | 57.0515 | 0.75633 | 0.071649 | 53.3531 | 2.1812 | 3.4991 | 40.2786 | 0.66017 | 0.068272 | 40.5043 | 1.8119 | 0.24531 | 89.5375 | 6.8072 | 5.5393 | 32.1895 | 0.48348 | 0.083164 | 79.6155 | 1.013 | 0.0088278 | 38.9767 | 0.45474 | 0.0045458 | 39.0098 | 0.78915 | 0.021228 | 39.0968 | 0.48835 | 0.008214 | 39.6342 | 1.3094 | 0.0976 | 36.6908 | 0.45226 | 0.0070153 | 39.1246 | 0.46419 | 0.0079101 | 38.7022 | 0.50496 | 0.0069107 | 36.2411 | 0.60982 | 0.035393 | 38.0373 | 0.78803 | 0.041259 | 36.4481 | 0.42589 | 0.010142 | 38.8575 | 0.71223 | 0.032462 | 37.7759 | 0.39871 | 0.0053872 | 36.7609 | 0.62111 | 0.024719 | 39.0315 | 0.4684 | 0.0057421 | 39.2698 | 0.51068 | 0.025519 | 38.1021 | 0.40414 | 0.0072211 | 39.3894 | 0.72236 | 0.02657 | 37.5435 | 0.44104 | 0.0052909 | 37.7437 | 0.77243 | 0.025295 | 37.8466 | 0.56342 | 0.007491 | 38.5958 | 0.52349 | 0.012371
Avg | 56.9398 |  |  | 54.4594 |  |  | 40.6492 |  |  | 41.1323 |  |  | 91.7305 |  |  | 31.9205 |  |  | 80.0507 |  |  | 39.0401 |  |  | 38.8525 |  |  | 38.979 |  |  | 40.3305 |  |  | 36.7297 |  |  | 39.0319 |  |  | 38.6603 |  |  | 36.3007 |  |  | 38.7027 |  |  | 36.3102 |  |  | 38.9972 |  |  | 37.8808 |  |  | 36.9046 |  |  | 39.048 |  |  | 39.4605 |  |  | 38.0516 |  |  | 39.6056 |  |  | 37.6583 |  |  | 38.1229 |  |  | 38.1472 |  |  | 38.7355
STD dev | 0.38351 |  |  | 2.1459 |  |  | 0.45544 |  |  | 0.89508 |  |  | 2.2977 |  |  | 0.31287 |  |  | 0.61639 |  |  | 0.3298 |  |  | 0.50018 |  |  | 0.30268 |  |  | 0.64082 |  |  | 0.3647 |  |  | 0.27943 |  |  | 0.46034 |  |  | 0.5048 |  |  | 0.5527 |  |  | 0.42796 |  |  | 0.52061 |  |  | 0.36627 |  |  | 0.24625 |  |  | 0.39749 |  |  | 0.32456 |  |  | 0.39419 |  |  | 0.63597 |  |  | 0.51005 |  |  | 0.41604 |  |  | 0.42143 |  |  | 0.43337
n | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6 |  |  | 6
ref val | 68 | 5.1 |  | 62.3 | 2.4 |  | 39.9 | 2.5 |  | 44 | 2.3 |  | 51 | 2 |  | 31.4 | 0.4 |  | 78.4 | 0.2 |  | 38.3 | 1.4 |  | 37.9 | 1.2 |  | 38.9 | 2.1 |  | 39.3 | 0.9 |  | 36 | 0.7 |  | 38.4 | 0.7 |  | 37.9 | 1 |  | 35.5 | 0.7 |  | 37.7 | 0.8 |  | 35.6 | 0.8 |  | 37.3 | 0.9 |  | 37.6 | 1.1 |  | 35.5 | 0.7 |  | 38.3 | 0.8 |  | 38 | 0.9 |  | 36.8 | 0.6 |  | 39.2 | 0.9 |  | 37 | 0.9 |  | 36.7 | 1.2 |  | 37.6 | 1.9 |  | 37.38 | 0.08
avg/ref val | 0.83735 |  |  | 0.87415 |  |  | 1.0188 |  |  | 0.93482 |  |  | 1.7986 |  |  | 1.0166 |  |  | 1.0211 |  |  | 1.0193 |  |  | 1.0251 |  |  | 1.002 |  |  | 1.0262 |  |  | 1.0203 |  |  | 1.0165 |  |  | 1.0201 |  |  | 1.0226 |  |  | 1.0266 |  |  | 1.02 |  |  | 1.0455 |  |  | 1.0075 |  |  | 1.0396 |  |  | 1.0195 |  |  | 1.0384 |  |  | 1.034 |  |  | 1.0103 |  |  | 1.0178 |  |  | 1.0388 |  |  | 1.0146 |  |  | 1.0363
coreGRID | Mg24_ppm_mean | 2 Std Error | LOD | K39_ppm_mean | 2 Std Error | LOD | Sc45_ppm_mean | 2 Std Error | LOD | Ti47_ppm_mean | 2 Std Error | LOD | Fe57_ppm_mean | 2 Std Error | LOD | Rb85_ppm_mean | 2 Std Error | LOD | Sr88_ppm_mean | 2 Std Error | LOD | Y89_ppm_mean | 2 Std Error | LOD | Zr90_ppm_mean | 2 Std Error | LOD | Nb93_ppm_mean | 2 Std Error | LOD | Ba137_ppm_mean | 2 Std Error | LOD | La139_ppm_mean | 2 Std Error | LOD | Ce140_ppm_mean | 2 Std Error | LOD | Pr141_ppm_mean | 2 Std Error | LOD | Nd146_ppm_mean | 2 Std Error | LOD | Sm147_ppm_mean | 2 Std Error | LOD | Eu153_ppm_mean | 2 Std Error | LOD | Gd157_ppm_mean | 2 Std Error | LOD | Tb159_ppm_mean | 2 Std Error | LOD | Dy163_ppm_mean | 2 Std Error | LOD | Ho165_ppm_mean | 2 Std Error | LOD | Er166_ppm_mean | 2 Std Error | LOD | Tm169_ppm_mean | 2 Std Error | LOD | Yb172_ppm_mean | 2 Std Error | LOD | Lu175_ppm_mean | 2 Std Error | LOD | Hf178_ppm_mean | 2 Std Error | LOD | Ta181_ppm_mean | 2 Std Error | LOD | U238_ppm_mean | 2 Std Error | LOD
core grid-1 | 15.3294 | 5.7784 | 0.14523 | 122386.2499 | 3457.1788 | 6.9698 | 2.431 | 0.17747 | 0.094924 | 27.8406 | 2.3176 | 0.45042 | 512.9353 | 20.7874 | 10.5968 | 269.5472 | 6.6742 | 0.14847 | 900.962 | 18.4773 | 0.023276 | 0.128 | 0.018729 | 0.0093439 | bd | 0.023682 | 0.046582 | bd | 0.0046993 | 0.01439 | 12117.3176 | 478.3831 | 0.085255 | 0.77602 | 0.089 | 0.014554 | 0.23509 | 0.04107 | 0.011292 | bd | 0.0058072 | 0.0091385 | bd | 0.03523 | 0.099793 | bd | 0.026593 | 0.08687 | 0.3587 | 0.038457 | 0.020886 | bd | 0.020788 | 0.058868 | bd | 0.0048457 | 0.0083239 | bd | 0.017045 | 0.033686 | bd | 0.003786 | 0.011175 | bd | 0.011574 | 0.037069 | bd | 0.0043213 | 0.0090543 | bd | 0.019866 | 0.067627 | bd | 0.0038081 | 0.0058663 | bd | 0.020336 | 0.051995 | bd | 0.0081689 | 0.017699 | bd | 0.011837 | 0.025999
core grid-2 | 11.7476 | 1.4952 | 0.1304 | 106956.3819 | 1416.6278 | 4.0593 | 2.3618 | 0.14402 | 0.12415 | 15.8012 | 1.4342 | 0.91879 | 502.5339 | 19.5791 | 8.8946 | 231.3481 | 3.379 | 0.13969 | 1012.6344 | 31.6924 | 0 | 0.1048 | 0.016861 | 0.0087801 | bd | 0.018927 | 0.041849 | bd | 0.004541 | 0.0081387 | 10793.5309 | 176.0989 | 0.086738 | 0.45478 | 0.046369 | 0.011663 | 0.10822 | 0.021965 | 0.014662 | bd | 0.0057316 | 0.011807 | bd | 0.027657 | 0.081519 | bd | 0.022872 | 0.06444 | 0.38572 | 0.040002 | 0.02052 | bd | 0.03249 | 0.072107 | bd | 0.0037095 | 0.008994 | bd | 0.019191 | 0.049404 | bd | 0.0047303 | 0.0099576 | bd | 0.012281 | 0.030196 | bd | 0.0030927 | 0.010741 | bd | 0.019896 | 0.045549 | bd | 0.004996 | 0.011401 | bd | 0.016136 | 0.048269 | 0.018803 | 0.0099709 | 0.0092912 | 0.02312 | 0.013276 | 0.021866
core grid-3 | 3.7371 | 0.99073 | 0.1508 | 122084.4099 | 1204.5926 | 6.1219 | 2.3149 | 0.14906 | 0.09564 | 48.1901 | 1.7424 | 0.72198 | 611.3545 | 19.29 | 9.6981 | 227.9935 | 3.0955 | 0.17826 | 1160.1488 | 20.266 | 0.017404 | 0.13938 | 0.019172 | 0.010677 | bd | 0.01921 | 0.020838 | bd | 0.005441 | 0.018515 | 11799.4777 | 174.1977 | 0.12741 | 1.0684 | 0.04952 | 0.0077889 | 0.35145 | 0.035876 | 0.011276 | bd | 0.00676 | 0.010982 | bd | 0.036165 | 0.096952 | bd | 0.025559 | 0.071573 | 0.56526 | 0.052245 | 0.01791 | bd | 0.02619 | 0.054832 | bd | 0.0045602 | 0.0094713 | bd | 0.015625 | 0.059564 | bd | 0.0035127 | 0.014462 | bd | 0.014524 | 0.042604 | bd | 0.0042058 | 0.0059216 | bd | 0.019904 | 0.085092 | bd | 0.0034536 | 0.01363 | bd | 0.017192 | 0.065724 | bd | 0.007551 | 0.019133 | bd | 0.00988 | 0.019695
core grid-4 | 11.1628 | 1.7937 | 0.19447 | 115469.5967 | 4586.4914 | 5.744 | 2.2498 | 0.15527 | 0.082986 | 44.8628 | 4.9824 | 0.45903 | 569.75 | 35.2941 | 8.7911 | 236.898 | 8.4148 | 0.12914 | 1049.5182 | 27.9914 | 0.011324 | 0.098311 | 0.019946 | 0.0092579 | 0.019336 | 0.020825 | 0.018924 | 0.012061 | 0.010632 | 0.0064466 | 10595.7631 | 354.2176 | 0.1758 | 0.95015 | 0.084702 | 0.012948 | 0.28884 | 0.034378 | 0.010692 | 0.014996 | 0.0073707 | 0.012696 | bd | 0.026306 | 0.068813 | bd | 0.02468 | 0.055244 | 0.41333 | 0.050168 | 0.021495 | bd | 0.032859 | 0.069231 | bd | 0.0034344 | 0.0091004 | bd | 0.017409 | 0.039615 | bd | 0.0039503 | 0.011537 | bd | 0.015377 | 0.044271 | bd | 0.0044003 | 0.015817 | bd | 0.012161 | 0.049138 | bd | 0.003461 | 0.018314 | bd | 0.021618 | 0.055425 | 0.029401 | 0.012937 | 0.0096261 | 0.027585 | 0.012873 | 0.017005
core grid-5 | 15.4306 | 3.936 | 0.13835 | 124324.3857 | 1305.7087 | 6.0868 | 2.3023 | 0.13503 | 0.1116 | 48.0852 | 2.8047 | 0.49434 | 521.4721 | 21.3899 | 9.7903 | 227.1826 | 3.0972 | 0.13609 | 1343.5361 | 16.6316 | 0.021346 | 0.11069 | 0.015689 | 0.01603 | 0.086418 | 0.033082 | 0.031282 | bd | 0.0052477 | 0.010389 | 10012.4561 | 129.6299 | 0.15616 | 1.3992 | 0.086755 | 0.0092358 | 0.29595 | 0.031345 | 0.015302 | 0.0077664 | 0.0057511 | 0.0054451 | bd | 0.03045 | 0.070213 | bd | 0.027901 | 0.054247 | 0.45454 | 0.0441 | 0.021195 | bd | 0.027422 | 0.10594 | bd | 0.0033231 | 0.013439 | bd | 0.017277 | 0.029181 | bd | 0.0040046 | 0.0099224 | bd | 0.01334 | 0.022428 | bd | 0.0051583 | 0.010589 | bd | 0.022869 | 0.049981 | bd | 0.0071018 | 0.012236 | bd | 0.021946 | 0.055927 | 0.014998 | 0.0089676 | 0.012954 | bd | 0.014163 | 0.02382
core grid-6 | 21.2811 | 10.0739 | 0.1475 | 85415.9327 | 1375.8033 | 7.1932 | 2.335 | 0.14039 | 0.092494 | 33.1947 | 2.3732 | 0.34761 | 445.6911 | 18.8247 | 8.3351 | 186.0539 | 3.1057 | 0.12638 | 1232.8254 | 18.62 | 0 | 0.12114 | 0.016617 | 0.0040146 | bd | 0.019815 | 0.027945 | bd | 0.0071095 | 0.0093823 | 10303.7397 | 197.0521 | 0.14774 | 1.0494 | 0.10617 | 0.0065719 | 0.48056 | 0.16299 | 0.012319 | 0.016404 | 0.0065466 | 0.011688 | bd | 0.03868 | 0.11016 | bd | 0.026326 | 0.071979 | 0.43391 | 0.041376 | 0.021486 | bd | 0.0368 | 0.090812 | bd | 0.0016934 | 0.010997 | bd | 0.018182 | 0.059262 | bd | 0.0042953 | 0.011099 | bd | 0.01424 | 0.034903 | bd | 0.0033536 | 0.0099186 | bd | 0.025465 | 0.046818 | bd | 0.0068526 | 0.016839 | bd | 0.021206 | 0.040154 | 0.015094 | 0.0098021 | 0.0094136 | bd | 0.0096729 | 0.018979
core grid-7 | 24.0297 | 14.484 | 0.13118 | 91814.0687 | 6955.3324 | 6.752 | 2.0109 | 0.14617 | 0.10186 | 23.0867 | 2.2761 | 0.46393 | 392.1941 | 21.0872 | 12.8765 | 193.0386 | 13.5044 | 0.16423 | 809.1324 | 44.2054 | 0.013357 | 0.090976 | 0.019718 | 0.012705 | 0.068364 | 0.040537 | 0.031207 | bd | 0.007279 | 0.01475 | 8314.8254 | 449.8991 | 0.18819 | 0.6209 | 0.075745 | 0.012826 | 0.21009 | 0.042305 | 0.011093 | bd | 0.005104 | 0.0082646 | bd | 0.038358 | 0.10632 | bd | 0.016883 | 0.073403 | 0.31186 | 0.046568 | 0.033022 | bd | 0.03016 | 0.087394 | bd | 0.0044576 | 0.013153 | bd | 0.026496 | 0.047158 | bd | 0.0056645 | 0.0089226 | bd | 0.016688 | 0.063161 | bd | 0.0058799 | 0.0076848 | bd | 0.029222 | 0.065564 | bd | 0.0053086 | 0.017044 | bd | 0.018719 | 0.049441 | bd | 0.0098819 | 0.021556 | bd | 0.013168 | 0.022711
core grid-8 | 26.9857 | 3.2775 | 0.16387 | 56255.8815 | 3196.7708 | 5.7501 | 2.2907 | 0.17358 | 0.086323 | 35.2514 | 4.2228 | 0.37823 | 772.5254 | 95.7726 | 13.1185 | 123.632 | 6.7108 | 0.15561 | 1394.3376 | 39.5802 | 0 | 0.068588 | 0.013971 | 0.0090721 | 0.15284 | 0.046967 | 0.033297 | 0.010599 | 0.0077792 | 0.01021 | 6479.7095 | 300.2998 | 0.1455 | 1.6281 | 0.14094 | 0.0081435 | 0.85039 | 0.077943 | 0.012681 | 0.031807 | 0.0089912 | 0.01208 | 0.077444 | 0.052886 | 0.067062 | bd | 0.027944 | 0.035036 | 0.36662 | 0.046673 | 0.0201 | bd | 0.026669 | 0.086338 | bd | 0.0040692 | 0.0078343 | bd | 0.02238 | 0.036995 | bd | 0.0065254 | 0.01204 | bd | 0.01442 | 0.035735 | bd | 0.005954 | 0.013203 | bd | 0.020325 | 0.055808 | bd | 0.0047566 | 0.009045 | bd | 0.024308 | 0.036131 | bd | 0.0051012 | 0.012893 | 0.038842 | 0.015333 | 0.019699
core grid-9 | 24.0648 | 2.1665 | 0.13409 | 111650.1779 | 2872.1842 | 6.639 | 2.297 | 0.16176 | 0.099215 | 29.1351 | 3.3498 | 0.52904 | 312.6345 | 20.9607 | 10.082 | 259.5635 | 7.9267 | 0.17544 | 983.3599 | 20.5854 | 0.016529 | 0.18284 | 0.021634 | 0.012877 | 0.090921 | 0.039925 | 0.056252 | bd | 0.0079045 | 0.01566 | 16801.5694 | 610.1789 | 0.14616 | 0.56455 | 0.066773 | 0.012488 | 0.154 | 0.033226 | 0.013563 | 0.013778 | 0.0083063 | 0.0089199 | bd | 0.049672 | 0.081769 | bd | 0.030924 | 0.068267 | 0.52999 | 0.058365 | 0.026747 | bd | 0.037978 | 0.066705 | bd | 0.004597 | 0.013129 | bd | 0.016944 | 0.05251 | bd | 0.0053458 | 0.013484 | bd | 0.016151 | 0.036823 | bd | 0.0051219 | 0.01523 | bd | 0.021038 | 0.07098 | bd | 0.0040305 | 0.0082471 | bd | 0.017824 | 0.050287 | 0.020251 | 0.012011 | 0.016794 | 0.035454 | 0.015573 | 0.025576
core grid-10 | 8.8268 | 2.6298 | 0.11921 | 24913.6868 | 1888.8103 | 6.8747 | 2.2343 | 0.14247 | 0.08485 | 56.1603 | 13.4393 | 0.34342 | 347.9447 | 17.0441 | 8.9685 | 52.6734 | 3.9868 | 0.12528 | 835.6905 | 14.6144 | 0.01995 | 0.028225 | 0.010549 | 0.010145 | 0.04353 | 0.025918 | 0.027608 | 0.043641 | 0.019255 | 0.013634 | 2431.7568 | 228.3631 | 0.18307 | 0.44464 | 0.064963 | 0.010871 | 0.19009 | 0.041001 | 0.009177 | bd | 0.0054951 | 0.0066118 | bd | 0.035829 | 0.097562 | bd | 0.02516 | 0.076879 | 0.19342 | 0.031519 | 0.020551 | bd | 0.028208 | 0.068403 | bd | 0.0036865 | 0.010878 | bd | 0.024632 | 0.045719 | bd | 0.0056577 | 0.01283 | bd | 0.01636 | 0.028478 | bd | 0.0045999 | 0.012237 | bd | 0.021296 | 0.048798 | bd | 0.0041168 | 0.017319 | bd | 0.020548 | 0.045086 | bd | 0.0058563 | 0.0084412 | 0.041106 | 0.01764 | 0.024641
core grid-11 | 6.6878 | 0.73131 | 0.16466 | 85836.4532 | 3751.962 | 5.0501 | 2.3502 | 0.15239 | 0.088101 | 41.3523 | 4.5579 | 0.44819 | 544.8774 | 22.5804 | 10.2174 | 166.4089 | 8.0906 | 0.13259 | 1024.9628 | 17.8197 | 0.016125 | 0.094127 | 0.016955 | 0.015926 | 0.14484 | 0.065308 | 0.026983 | 0.014482 | 0.010717 | 0.013855 | 7764.3888 | 357.0741 | 0.14231 | 0.94328 | 0.19207 | 0.0096478 | 0.38851 | 0.086146 | 0.013752 | 0.017493 | 0.0072975 | 0.0081926 | bd | 0.02846 | 0.094703 | bd | 0.028633 | 0.091419 | 0.36883 | 0.044075 | 0.023995 | bd | 0.02875 | 0.073026 | bd | 0.0037324 | 0.0082816 | bd | 0.013395 | 0.055514 | bd | 0.0046708 | 0.015642 | bd | 0.016093 | 0.041194 | bd | 0.0042331 | 0.0090093 | bd | 0.028354 | 0.058113 | bd | 0.0043124 | 0.013392 | bd | 0.025286 | 0.03474 | bd | 0.0077261 | 0.01599 | 0.22936 | 0.12681 | 0.028271
core grid-12 | 8.9802 | 5.0576 | 0.10812 | 126179.6818 | 1273.5857 | 6.1971 | 2.2846 | 0.152 | 0.081222 | 54.7151 | 3.3545 | 0.61414 | 881.3888 | 76.2957 | 10.3478 | 215.632 | 2.974 | 0.14199 | 1063.2271 | 12.1358 | 0 | 0.12954 | 0.019937 | 0.0095515 | bd | 0.020699 | 0.035143 | bd | 0.0065367 | 0.01301 | 10830.1924 | 79.7511 | 0.20101 | 1.1566 | 0.082871 | 0.010826 | 0.34964 | 0.03535 | 0.016208 | 0.012641 | 0.0064998 | 0.0097684 | bd | 0.037866 | 0.10199 | bd | 0.025794 | 0.080321 | 0.41572 | 0.050839 | 0.01791 | bd | 0.025239 | 0.049731 | bd | 0.0033236 | 0.01475 | bd | 0.017901 | 0.055614 | bd | 0.0044727 | 0.014103 | bd | 0.014361 | 0.041887 | bd | 0.0043417 | 0.013843 | bd | 0.019478 | 0.045767 | bd | 0.0041303 | 0.010947 | bd | 0.025457 | 0.058113 | bd | 0.0093851 | 0.015512 | bd | 0.0145 | 0.025523
core grid-13 | 6.2822 | 0.70257 | 0.1325 | 111971.4301 | 3247.042 | 4.4394 | 2.2325 | 0.16438 | 0.097841 | 39.8207 | 2.3442 | 0.54775 | 502.118 | 20.1066 | 9.3209 | 218.1775 | 6.7125 | 0.11166 | 1123.999 | 21.4947 | 0.019471 | 0.11182 | 0.018279 | 0.0082225 | bd | 0.0062316 | 0.019284 | bd | 0.0061862 | 0.0099972 | 10401.872 | 275.3133 | 0.2384 | 1.1417 | 0.096278 | 0.011444 | 0.30572 | 0.03379 | 0.011522 | 0.018379 | 0.0087301 | 0.011302 | bd | 0.039019 | 0.086597 | bd | 0.033102 | 0.056327 | 0.40813 | 0.045279 | 0.018384 | bd | 0.03091 | 0.092778 | bd | 0.0056475 | 0.013192 | bd | 0.019885 | 0.056728 | bd | 0.004906 | 0.0077041 | bd | 0.013312 | 0.051706 | bd | 0.0055583 | 0.010997 | bd | 0.019601 | 0.045374 | bd | 0.0051316 | 0.0088552 | bd | 0.017021 | 0.053631 | bd | 0.011061 | 0.014796 | bd | 0.012328 | 0.025083
core grid-14 | 8.8446 | 0.87681 | 0.15371 | 129193.9974 | 2845.8047 | 6.3116 | 2.2169 | 0.17771 | 0.082372 | 25.2777 | 2.6517 | 0.86851 | 500.6917 | 24.4531 | 9.741 | 274.4684 | 6.2552 | 0.14581 | 829.4362 | 102.2127 | 0.01854 | 0.11757 | 0.020292 | 0.0099835 | 0.050606 | 0.028017 | 0.018335 | bd | 0.0049038 | 0.011006 | 10733.3986 | 463.3736 | 0.1543 | 1.2477 | 0.15189 | 0.013522 | 0.21922 | 0.044103 | 0.012899 | bd | 0.0049196 | 0.010368 | bd | 0.032247 | 0.08415 | bd | 0.02858 | 0.06908 | 0.37205 | 0.050031 | 0.012509 | bd | 0.029643 | 0.086484 | bd | 0.0028947 | 0.012613 | bd | 0.016877 | 0.043832 | bd | 0.005412 | 0.010825 | bd | 0.015895 | 0.035424 | bd | 0.0047237 | 0.01055 | bd | 0.020814 | 0.054123 | bd | 0.0057635 | 0.015031 | bd | 0.018344 | 0.040774 | bd | 0.0085298 | 0.014969 | bd | 0.013325 | 0.02089
core grid-15 | 2.6637 | 0.39054 | 0.12294 | 124539.3948 | 1491.2158 | 5.4811 | 2.1656 | 0.17729 | 0.08456 | 46.677 | 2.8225 | 0.49608 | 608.63 | 21.5509 | 11.4242 | 217.6252 | 3.57 | 0.15118 | 1221.3147 | 28.649 | 0.024669 | 0.093979 | 0.015821 | 0.0098485 | bd | 0.00040066 | 0.041312 | bd | 0.00024005 | 0.011094 | 10911.0305 | 139.1664 | 0.25251 | 1.1461 | 0.066538 | 0.0088388 | 0.37285 | 0.033489 | 0.013548 | bd | 0.0059039 | 0.006301 | bd | 0.042432 | 0.12277 | bd | 0.032529 | 0.069814 | 0.49925 | 0.053118 | 0.016071 | bd | 0.035681 | 0.056536 | bd | 0.0043808 | 0.015421 | bd | 0.015522 | 0.047406 | bd | 0.0043063 | 0.012025 | bd | 0.014103 | 0.045306 | bd | 0.0049715 | 0.012095 | bd | 0.036617 | 0.06724 | bd | 0.0045875 | 0.013608 | bd | 0.023456 | 0.036829 | bd | 0.007778 | 0.012732 | bd | 0.0089727 | 0.024781
core grid-16 | 2.206 | 0.74263 | 0.12496 | 125111.136 | 1506.094 | 5.8958 | 2.1494 | 0.16099 | 0.076074 | 47.3225 | 2.7644 | 0.50667 | 627.2415 | 19.0072 | 8.3318 | 221.147 | 3.5796 | 0.13418 | 1145.5901 | 18.5019 | 0.022938 | 0.12438 | 0.019423 | 0.0087166 | 0.025011 | 0.025552 | 0 | bd | 0.0044146 | 0.01375 | 10995.1105 | 90.3125 | 0.13914 | 1.0094 | 0.065248 | 0.0074577 | 0.30971 | 0.028002 | 0.012933 | 0.01042 | 0.0069546 | 0.0082667 | bd | 0.039606 | 0.077809 | bd | 0.030164 | 0.073017 | 0.47052 | 0.052992 | 0.018114 | bd | 0.028696 | 0.058746 | bd | 0.0065699 | 0.0095948 | bd | 0.019123 | 0.04194 | bd | 0.005401 | 0.0079646 | bd | 0.017077 | 0.034383 | bd | 0.005892 | 0.0091552 | bd | 0.026848 | 0.059665 | bd | 0.0048679 | 0.012178 | bd | 0.017496 | 0.047431 | bd | 0.0076401 | 0.012137 | bd | 0.011114 | 0.021868
Average Values | 12.3913 | 3.4455 | 0.14138 | 104006.4291 | 2648.4503 | 5.9729 | 2.2642 | 0.15687 | 0.092764 | 38.5483 | 3.5898 | 0.53676 | 540.8739 | 29.6265 | 10.0334 | 207.5869 | 5.6923 | 0.1435 | 1070.6672 | 28.3424 | 0.014058 | 0.10902 | 0.017725 | 0.010322 | 0.075763 | 0.027193 | 0.029803 | 0.020196 | 0.0070554 | 0.012139 | 10080.3837 | 281.4569 | 0.1606 | 0.97506 | 0.091615 | 0.010552 | 0.31939 | 0.048936 | 0.012682 | 0.015965 | 0.0066356 | 0.0094895 | 0.077444 | 0.036929 | 0.090511 | #DIV/0! | 0.027103 | 0.06862 | 0.40924 | 0.046613 | 0.020681 | #DIV/0! | 0.029905 | 0.073621 | #DIV/0! | 0.0040578 | 0.011198 | #DIV/0! | 0.018618 | 0.047133 | #DIV/0! | 0.0047901 | 0.011481 | #DIV/0! | 0.014737 | 0.039098 | #DIV/0! | 0.004738 | 0.011003 | #DIV/0! | 0.022735 | 0.057227 | #DIV/0! | 0.0047924 | 0.012747 | #DIV/0! | 0.020431 | 0.048122 | 0.019709 | 0.008898 | 0.013996 | 0.06591 | 0.020029 | 0.022901
rimGRID | Mg24_ppm_mean | 2 Std Error | LOD | K39_ppm_mean | 2 Std Error | LOD | Sc45_ppm_mean | 2 Std Error | LOD | Ti47_ppm_mean | 2 Std Error | LOD | Fe57_ppm_mean | 2 Std Error | LOD | Rb85_ppm_mean | 2 Std Error | LOD | Sr88_ppm_mean | 2 Std Error | LOD | Y89_ppm_mean | 2 Std Error | LOD | Zr90_ppm_mean | 2 Std Error | LOD | Nb93_ppm_mean | 2 Std Error | LOD | Ba137_ppm_mean | 2 Std Error | LOD | La139_ppm_mean | 2 Std Error | LOD | Ce140_ppm_mean | 2 Std Error | LOD | Pr141_ppm_mean | 2 Std Error | LOD | Nd146_ppm_mean | 2 Std Error | LOD | Sm147_ppm_mean | 2 Std Error | LOD | Eu153_ppm_mean | 2 Std Error | LOD | Gd157_ppm_mean | 2 Std Error | LOD | Tb159_ppm_mean | 2 Std Error | LOD | Dy163_ppm_mean | 2 Std Error | LOD | Ho165_ppm_mean | 2 Std Error | LOD | Er166_ppm_mean | 2 Std Error | LOD | Tm169_ppm_mean | 2 Std Error | LOD | Yb172_ppm_mean | 2 Std Error | LOD | Lu175_ppm_mean | 2 Std Error | LOD | Hf178_ppm_mean | 2 Std Error | LOD | Ta181_ppm_mean | 2 Std Error | LOD | U238_ppm_mean | 2 Std Error | LOD
rim grid-1 | 26.5978 | 1.7659 | 0.12728 | 75386.548 | 2427.8273 | 5.9858 | 2.8124 | 0.18456 | 0.10377 | 13650.1174 | 2896.8324 | 0.56444 | 1009.1509 | 149.1997 | 10.269 | 297.8498 | 9.2974 | 0.15781 | 791.5297 | 26.4732 | 0.026498 | 67.4573 | 15.404 | 0.011897 | 44.8201 | 10.0247 | 0.026881 | 71.4255 | 16.0443 | 0.00793 | 3345.7607 | 92.6933 | 0.1784 | 173.7547 | 37.1752 | 0.015698 | 448.0352 | 98.569 | 0.0082936 | 55.9071 | 12.5819 | 0.0064465 | 213.6136 | 48.8542 | 0.10451 | 34.4491 | 8.2068 | 0.09654 | 7.049 | 1.5664 | 0.023583 | 22.7333 | 5.3007 | 0.090631 | 2.7753 | 0.67791 | 0.012227 | 14.5012 | 3.4554 | 0.040826 | 2.5384 | 0.60014 | 0.015273 | 6.867 | 1.6307 | 0.038514 | 0.91784 | 0.21039 | 0.014382 | 5.8578 | 1.3056 | 0.047984 | 0.76953 | 0.1777 | 0.014594 | 3.6059 | 0.81694 | 0.045665 | 5.87 | 1.3175 | 0.012065 | 10.2644 | 2.1242 | 0.023667
rim grid-2 | 17.1586 | 1.8701 | 0.12503 | 116780.6835 | 2816.7549 | 4.7791 | 2.2498 | 0.1554 | 0.10968 | 43.9051 | 2.5399 | 0.49167 | 540.0217 | 19.6754 | 10.9492 | 229.1591 | 5.5315 | 0.14888 | 999.7087 | 22.2031 | 0.016845 | 0.1021 | 0.018605 | 0.010379 | 0.035135 | 0.024937 | 0.020201 | bd | 0.0051206 | 0.010468 | 9158.6394 | 165.1964 | 0.14839 | 0.99987 | 0.072456 | 0.0066244 | 0.30319 | 0.030549 | 0.016059 | bd | 0.0050489 | 0.010709 | bd | 0.038153 | 0.067305 | bd | 0.033635 | 0.069389 | 0.4703 | 0.055026 | 0.022428 | bd | 0.036844 | 0.078918 | bd | 0.006223 | 0.0086809 | bd | 0.017154 | 0.046266 | bd | 0.0044569 | 0.01318 | bd | 0.012552 | 0.042847 | bd | 0.0041288 | 0.013052 | bd | 0.019977 | 0.050091 | bd | 0.0051692 | 0.013718 | bd | 0.019767 | 0.054492 | 0.018871 | 0.011695 | 0.014108 | bd | 0.01304 | 0.019963
rim grid-3 | 41.8817 | 9.1272 | 0.1037 | 23185.0769 | 2947.7657 | 4.7544 | 2.1942 | 0.16523 | 0.093627 | 61.3267 | 11.1213 | 0.46203 | 7972.2973 | 3125.2365 | 7.6546 | 59.4802 | 8.343 | 0.10016 | 567.1171 | 61.0736 | 0 | 0.045697 | 0.011495 | 0.0095447 | 0.33491 | 0.13403 | 0.0284 | 0.17249 | 0.051916 | 0.0057208 | 2979.2265 | 455.6273 | 0.19752 | 8.7677 | 4.0452 | 0.010981 | 7.1757 | 3.4775 | 0.0087478 | 0.31164 | 0.15157 | 0.0071295 | 0.68085 | 0.31891 | 0.062232 | bd | 0.048673 | 0.077723 | 0.22852 | 0.051093 | 0.017472 | bd | 0.026165 | 0.056159 | bd | 0.003421 | 0.012568 | bd | 0.021407 | 0.038373 | bd | 0.0048216 | 0.0089768 | bd | 0.018399 | 0.03318 | bd | 0.0053444 | 0.014405 | bd | 0.021329 | 0.064626 | bd | 0.0059031 | 0.0083253 | bd | 0.022591 | 0.049938 | bd | 0.009945 | 0.020022 | 0.29384 | 0.056617 | 0.014679
rim grid-4 | 9.8754 | 2.3581 | 0.13546 | 132538.7314 | 1950.6429 | 6.7489 | 2.1014 | 0.14396 | 0.093922 | 42.9367 | 2.8571 | 0.53348 | 535.631 | 20.2024 | 11.8788 | 272.8593 | 5.7845 | 0.16602 | 1221.4794 | 23.4163 | 0.0132 | 0.11321 | 0.019525 | 0.010142 | bd | 0.021208 | 0.03089 | bd | 0.0069223 | 0.012327 | 12493.3401 | 434.3345 | 0.1341 | 1.0953 | 0.058623 | 0.010442 | 0.38013 | 0.032201 | 0.010876 | 0.013612 | 0.0073964 | 0.011644 | bd | 0.039811 | 0.097438 | bd | 0.036913 | 0.07921 | 0.51739 | 0.057342 | 0.022033 | bd | 0.025181 | 0.099397 | bd | 0.0037524 | 0.01106 | bd | 0.014353 | 0.064467 | bd | 0.005214 | 0.014319 | bd | 0.012717 | 0.031819 | bd | 0.0054509 | 0.0086449 | bd | 0.024974 | 0.04501 | bd | 0.0074443 | 0.0149 | bd | 0.019062 | 0.050315 | 0.027154 | 0.012571 | 0.0094347 | 0.028374 | 0.015388 | 0.021786
rim grid-5 | 7.5522 | 1.2133 | 0.2191 | 127140.9244 | 1237.6139 | 7.9897 | 2.1481 | 0.16011 | 0.089341 | 44.6179 | 2.3811 | 0.60091 | 596.8265 | 18.3928 | 11.5172 | 219.4471 | 3.3916 | 0.19247 | 1286.2933 | 19.1242 | 0.027045 | 0.092592 | 0.018787 | 0.0090872 | bd | 0.02447 | 0.050008 | bd | 0.0060567 | 0.016887 | 8398.7503 | 94.2874 | 0.19674 | 1.3063 | 0.061622 | 0.014667 | 0.44457 | 0.037364 | 0.014475 | bd | 0.0070078 | 0.016579 | bd | 0.040892 | 0.074721 | bd | 0.035217 | 0.084495 | 0.47733 | 0.052447 | 0.023506 | bd | 0.034856 | 0.12166 | bd | 0.0045391 | 0.016393 | bd | 0.023541 | 0.067674 | bd | 0.0054732 | 0.020705 | bd | 0.018056 | 0.020697 | bd | 0.0050273 | 0.010981 | bd | 0.023362 | 0.069583 | bd | 0.0049598 | 0.013739 | bd | 0.016675 | 0.037477 | bd | 0.0051687 | 0.016375 | bd | 0.011581 | 0.026343
rim grid-6 | 23.6067 | 1.8646 | 0.23393 | 39558.7805 | 3516.3825 | 8.9536 | 2.067 | 0.1768 | 0.076108 | 16.6877 | 1.9709 | 0.58488 | 311.7168 | 20.2328 | 13.5903 | 106.8257 | 8.2367 | 0.21051 | 821.083 | 21.7054 | 0.051724 | 0.055623 | 0.014469 | 0.016429 | 0.023374 | 0.022154 | 0 | bd | 0.0071482 | 0.015808 | 4868.5688 | 285.8013 | 0.30712 | 0.37572 | 0.050542 | 0.013726 | 0.095143 | 0.019649 | 0.015396 | bd | 0.0048377 | 0.017961 | bd | 0.031964 | 0.11405 | bd | 0.043144 | 0.11903 | 0.19916 | 0.03684 | 0.022878 | bd | 0.034674 | 0.093811 | bd | 0.0047962 | 0.012128 | bd | 0.028114 | 0.02834 | bd | 0.0046028 | 0.009958 | bd | 0.017197 | 0.057025 | bd | 0.0045144 | 0.0191 | bd | 0.024631 | 0.090213 | bd | 0.008903 | 0.012409 | bd | 0.019653 | 0.056667 | bd | 0.010752 | 0.027218 | 0.067201 | 0.02041 | 0.040098
rim grid-7 | 7.1594 | 1.0792 | 0.16508 | 114083.4702 | 2647.1676 | 7.2557 | 2.1025 | 0.17275 | 0.10012 | 44.8708 | 2.8894 | 0.70103 | 544.2109 | 20.0066 | 13.4097 | 208.1528 | 4.9962 | 0.17828 | 1427.3773 | 31.3061 | 0.017452 | 0.08608 | 0.016896 | 0.011129 | bd | 0.00028998 | 0 | bd | 0.0057628 | 0.0099113 | 8522.2009 | 160.7456 | 0.1764 | 1.1065 | 0.070254 | 0.011807 | 0.36203 | 0.031828 | 0.0082125 | 0.011723 | 0.0078433 | 0.0084894 | bd | 0.043864 | 0.12681 | bd | 0.03437 | 0.07717 | 0.42177 | 0.049037 | 0.021471 | bd | 0.030632 | 0.08119 | bd | 0.0057243 | 0.013834 | bd | 0.021664 | 0.049769 | bd | 0.0049021 | 0.012632 | bd | 0.013905 | 0.05742 | bd | 0.0055285 | 0.016474 | bd | 0.021045 | 0.092074 | bd | 0.0057157 | 0.018076 | bd | 0.01751 | 0.058311 | bd | 0.0090831 | 0.015369 | bd | 0.015251 | 0.029868
rim grid-8 | 7.0031 | 0.78629 | 0.15634 | 113409.8113 | 1873.6818 | 6.2971 | 2.2863 | 0.1602 | 0.10445 | 49.3707 | 4.0212 | 0.58505 | 507.797 | 44.4523 | 9.8967 | 245.8074 | 4.7718 | 0.16212 | 1444.435 | 28.6192 | 0.029092 | 0.1063 | 0.018415 | 0.0085042 | bd | 0.017664 | 0.022043 | bd | 0.0045749 | 0.010334 | 10618.7805 | 163.3469 | 0.095484 | 1.3317 | 0.11359 | 0.017351 | 0.36772 | 0.039368 | 0.017178 | bd | 0.0065752 | 0.011643 | bd | 0.036442 | 0.097277 | bd | 0.037733 | 0.10015 | 0.4558 | 0.056348 | 0.021997 | bd | 0.025312 | 0.085814 | bd | 0.005311 | 0.017634 | bd | 0.024153 | 0.03824 | bd | 0.006583 | 0.014344 | bd | 0.016233 | 0.03997 | bd | 0.0045515 | 0.0086259 | bd | 0.025278 | 0.050771 | bd | 0.0051087 | 0.012857 | bd | 0.018265 | 0.085708 | 0.02055 | 0.012247 | 0.011955 | bd | 0.012236 | 0.026776
rim grid-9 | 184.8098 | 65.7117 | 0.13765 | 1658.4107 | 88.4782 | 8.3281 | 2.223 | 0.20195 | 0.10962 | 36.9474 | 3.7443 | 0.69109 | 1455.8386 | 300.8764 | 10.788 | 2.7019 | 0.6407 | 0.19459 | 1824.6583 | 32.7673 | 0.040175 | 0.017624 | 0.0098203 | 0.008048 | 2.5696 | 1.0233 | 0.050542 | 0.027299 | 0.013023 | 0.020436 | 224.1886 | 7.005 | 0.21882 | 5.711 | 0.15527 | 0.017538 | 3.5962 | 0.11658 | 0.013873 | 0.16977 | 0.019802 | 0.010553 | 0.29429 | 0.087869 | 0.066081 | bd | 0.032361 | 0.10167 | 0.31826 | 0.034663 | 0.024707 | bd | 0.045543 | 0.067747 | bd | 0.0050333 | 0.01198 | bd | 0.020537 | 0.059285 | bd | 0.0047217 | 0.013297 | bd | 0.021233 | 0.063725 | bd | 0.0050235 | 0.015198 | bd | 0.024175 | 0.069693 | bd | 0.0063047 | 0.016431 | 0.12309 | 0.063795 | 0.057499 | bd | 0.0094709 | 0.022278 | 0.18054 | 0.056105 | 0.017758
rim grid-10 | 117.0922 | 182.1807 | 0.11514 | 126384.1968 | 1712.8931 | 6.5659 | 2.1749 | 0.18914 | 0.10615 | 50.5177 | 2.778 | 0.68414 | 606.7276 | 26.3199 | 11.6875 | 274.2325 | 4.3061 | 0.18955 | 1244.8009 | 28.4913 | 0.016519 | 0.11352 | 0.019123 | 0.013463 | 0.027862 | 0.023206 | 0.019825 | bd | 0.0062178 | 0.012544 | 11178.1642 | 153.1355 | 0.24432 | 1.0123 | 0.064762 | 0.011796 | 0.24477 | 0.03033 | 0.012282 | bd | 0.0064697 | 0.0097788 | bd | 0.048115 | 0.075367 | bd | 0.02638 | 0.085349 | 0.43647 | 0.049736 | 0.028989 | bd | 0.033156 | 0.060542 | bd | 0.003892 | 0.010544 | bd | 0.024479 | 0.053961 | bd | 0.0053155 | 0.011163 | bd | 0.012947 | 0.036461 | bd | 0.004966 | 0.018809 | bd | 0.019365 | 0.056454 | bd | 0.0051518 | 0.012172 | bd | 0.019721 | 0.05791 | bd | 0.0086199 | 0.020908 | bd | 0.011394 | 0.018855
rim grid-11 | 18.7803 | 5.25 | 0.15428 | 1363.53 | 34.5291 | 7.3328 | 2.0162 | 0.14717 | 0.10152 | 20.5903 | 2.149 | 0.76829 | 633.7958 | 38.679 | 11.8029 | 0.61042 | 0.18126 | 0.17795 | 1264.52 | 43.8594 | 0.022943 | bd | 0.0084188 | 0.017967 | 0.074801 | 0.037301 | 0.022771 | bd | 0.0063799 | 0.015002 | 158.4378 | 4.6365 | 0.20971 | 4.3101 | 0.44191 | 0.012521 | 2.4474 | 0.28934 | 0.020854 | 0.12281 | 0.023141 | 0.01207 | 0.14001 | 0.0635 | 0.10115 | bd | 0.043235 | 0.070685 | 0.2212 | 0.038808 | 0.027088 | bd | 0.039025 | 0.12259 | bd | 0.0060751 | 0.013968 | bd | 0.020588 | 0.061598 | bd | 0.0049933 | 0.016353 | bd | 0.024262 | 0.038814 | bd | 0.0054228 | 0.015329 | bd | 0.026927 | 0.11888 | bd | 0.0043369 | 0.012046 | bd | 0.019441 | 0.050982 | bd | 0.0055494 | 0.010757 | 0.052747 | 0.022427 | 0.02583
rim grid-12 | 31.8902 | 14.4156 | 0.13382 | 106183.3755 | 3667.0128 | 5.8877 | 2.2372 | 0.17771 | 0.10636 | 34.658 | 4.8791 | 0.62958 | 600.7001 | 86.9643 | 10.7954 | 283.8914 | 10.3799 | 0.18097 | 699.9345 | 19.9223 | 0.026955 | 0.082273 | 0.015331 | 0.0097926 | 0.066056 | 0.030536 | 0.041035 | bd | 0.006067 | 0.011898 | 6357.7903 | 212.9864 | 0.15567 | 0.61965 | 0.057729 | 0.013504 | 0.12391 | 0.022958 | 0.016784 | bd | 0.0068489 | 0.0099096 | bd | 0.039173 | 0.098231 | bd | 0.046215 | 0.0693 | 0.18806 | 0.028434 | 0.022651 | bd | 0.033509 | 0.0645 | bd | 0.0037447 | 0.011441 | bd | 0.022374 | 0.042485 | bd | 0.0046324 | 0.014467 | bd | 0.020106 | 0.037343 | bd | 0.0045731 | 0.007317 | bd | 0.022197 | 0.049948 | bd | 0.007245 | 0.016158 | bd | 0.027281 | 0.054199 | 0.019547 | 0.010787 | 0.013175 | 0.033447 | 0.016181 | 0.022277
rim grid-13 | 112764.4393 | 2104.4693 | 0.2017 | 84884.8927 | 9231.7296 | 9.1516 | 140.9179 | 3.6029 | 0.093987 | 12007.4605 | 491.9516 | 0.63647 | 157404.521 | 1582.3661 | 11.0082 | 1008.85 | 113.7165 | 0.60734 | 39.5438 | 6.2218 | 0.033435 | 12.9009 | 2.1608 | 0.010651 | 20.7389 | 3.4793 | 0.044091 | 12.5118 | 0.35273 | 0.01212 | 1451.1713 | 180.8066 | 0.19048 | 22.6548 | 4.9069 | 0.0092173 | 47.4406 | 8.9811 | 0.0095956 | 5.5901 | 0.98264 | 0.01036 | 23.5339 | 3.9999 | 0.075285 | 4.5047 | 0.8539 | 0.064138 | 0.97607 | 0.17297 | 0.021522 | 3.6377 | 0.62088 | 0.091962 | 0.45948 | 0.079615 | 0.012695 | 2.4493 | 0.39709 | 0.028625 | 0.46303 | 0.08097 | 0.014846 | 1.1676 | 0.20124 | 0.035128 | 0.1562 | 0.035688 | 0.013383 | 1.0467 | 0.22638 | 0.064142 | 0.19072 | 0.040836 | 0.013831 | 1.4369 | 0.26571 | 0.03983 | 0.20953 | 0.026457 | 0.025697 | 0.38005 | 0.10793 | 0.015507
rim grid-14 | 120.4542 | 32.9148 | 0.1735 | 114521.7284 | 2263.0389 | 6.3715 | 2.175 | 0.17272 | 0.10693 | 57.309 | 6.3222 | 0.74442 | 703.6747 | 66.4795 | 11.0259 | 401.1415 | 6.9098 | 0.18806 | 1074.4947 | 28.9836 | 0.13294 | 0.087583 | 0.019114 | 0.0078339 | 0.023294 | 0.020248 | 0.020257 | 0.038743 | 0.021816 | 0.01212 | 5124.2757 | 92.556 | 0.087466 | 0.93966 | 0.057418 | 0.014826 | 0.25569 | 0.032263 | 0.010579 | bd | 0.0061252 | 0.011863 | bd | 0.048739 | 0.11785 | bd | 0.030363 | 0.062938 | 0.28409 | 0.043668 | 0.021859 | bd | 0.028307 | 0.10083 | bd | 0.0050589 | 0.009808 | bd | 0.017882 | 0.063261 | bd | 0.0058825 | 0.020651 | bd | 0.014654 | 0.041363 | bd | 0.0061617 | 0.013926 | bd | 0.030519 | 0.0553 | bd | 0.0054277 | 0.017234 | 0.059554 | 0.034128 | 0.055848 | bd | 0.0083556 | 0.012193 | bd | 0.011768 | 0.031692
rim grid-15 | 2717.2447 | 1353.5824 | 0.17594 | 121627.6449 | 1781.5713 | 6.3639 | 3.6468 | 0.81191 | 0.1305 | 159.0493 | 61.0912 | 0.46711 | 4169.8571 | 1757.0329 | 13.3868 | 472.1098 | 25.3505 | 0.1418 | 703.4765 | 18.7642 | 0 | 0.076248 | 0.01699 | 0.01555 | 0.23367 | 0.081213 | 0 | 0.17683 | 0.088639 | 0.011466 | 5466.6613 | 146.6062 | 0 | 0.77727 | 0.060714 | 0.010041 | 0.27565 | 0.032972 | 0.014954 | bd | 0.0072766 | 0.019117 | bd | 0.044679 | 0.13836 | bd | 0.033761 | 0.093848 | 0.19475 | 0.035588 | 0.032063 | bd | 0.032389 | 0.1081 | bd | 0.0042672 | 0.013867 | bd | 0.018442 | 0.04574 | bd | 0.0051783 | 0.021813 | bd | 0.016592 | 0.045214 | bd | 0.0044973 | 0.012106 | bd | 0.022364 | 0.069006 | bd | 0.0070579 | 0.018482 | bd | 0.033066 | 0.046978 | bd | 0.011095 | 0.019634 | 0.042586 | 0.018107 | 0.03571
rim grid-16 | 52.9051 | 14.7057 | 0.1592 | 102971.4016 | 2127.3815 | 6.5107 | 2.1283 | 0.15051 | 0.099489 | 29.2419 | 4.5546 | 0.53616 | 434.5412 | 34.3228 | 11.5125 | 444.5067 | 7.1572 | 0.15522 | 614.419 | 13.2654 | 0.018316 | 0.05942 | 0.016013 | 0.010395 | 0.041383 | 0.025527 | 0 | 0.020078 | 0.012021 | 0.013656 | 3838.366 | 81.6858 | 0.20153 | 0.46724 | 0.05182 | 0.008141 | 0.13857 | 0.023961 | 0.0090482 | bd | 0.0080998 | 0.01148 | bd | 0.029364 | 0.069579 | bd | 0.037449 | 0.090763 | 0.16788 | 0.027438 | 0.030226 | bd | 0.034812 | 0.078642 | bd | 0.0034756 | 0.010816 | bd | 0.019515 | 0.053052 | bd | 0.0072688 | 0.013762 | bd | 0.016946 | 0.039283 | bd | 0.0054185 | 0.012936 | bd | 0.029732 | 0.070523 | bd | 0.0046317 | 0.015229 | bd | 0.021179 | 0.052952 | bd | 0.011171 | 0.014372 | bd | 0.011055 | 0.025681
Average Values | 37.5888 | 23.5126 | 0.16099 | 99539.694 | 2167.9181 | 6.7902 | 2.1533 | 0.16422 | 0.09946 | 39.5187 | 3.3948 | 0.6236 | 546.8767 | 35.9752 | 11.6424 | 244.2394 | 5.6042 | 0.17728 | 1099.8678 | 25.536 | 0.033912 | 0.089869 | 0.016791 | 0.011375 | 0.041701 | 0.022504 | 0.020639 | 0.029411 | 0.0080079 | 0.012814 | 7337.9376 | 168.0648 | 0.1779 | 1.2331 | 0.10007 | 0.01231 | 0.46937 | 0.053619 | 0.013795 | 0.049381 | 0.0081267 | 0.012012 | 0.14001 | 0.04182 | 0.094524 | #DIV/0! | 0.036787 | 0.082589 | 0.34904 | 0.045011 | 0.024102 | #DIV/0! | 0.032392 | 0.089808 | #DIV/0! | 0.0047811 | 0.012392 | #DIV/0! | 0.021256 | 0.051738 | #DIV/0! | 0.0053931 | 0.014685 | #DIV/0! | 0.016325 | 0.040276 | #DIV/0! | 0.0050676 | 0.0132 | #DIV/0! | 0.024364 | 0.068077 | #DIV/0! | 0.0058267 | 0.014413 | 0.059554 | 0.021153 | 0.055896 | 0.02153 | 0.0096364 | 0.015079 | 0.045442 | 0.014612 | 0.026288

## Things to cite
Woodhead, J., Hellstrom, J., Hergt, J., Greig, A. & Maas, R (2007) Isotopic and elemental imaging of geological materials by laser ablation Inductively Coupled Plasma mass spectrometry. Journal of Geostandards and Geoanalytical Research, 31, p. 331-343.
Paton, C., Hellstrom, J., Paul, B.,Woodhead, J. and Hergt, J. (2011) Iolite: Freeware for the visualisation and processing of mass spectrometric data. Journal of Analytical Atomic Spectrometry. doi:10.1039/c1ja10172b.